## Sheet1
Command Type | Command List | Response | Expected Response | Pass/Fail
Comment | 200-50 Load Regulation
DMM2 Open
Load Open
PS Command | VOLT 200
PS Command | CURR 50
PS Command | OUTP:STAT ON
Load Command | MODE CCH
Load Command | CURR:STAT:L1 5
DMM2 Query | MEAS:VOLT:DC?
Load Command | CURR:STAT:L1 12.5
DMM2 Query | MEAS:VOLT:DC?
Load Command | CURR:STAT:L1 25
DMM2 Query | MEAS:VOLT:DC?
Load Command | CURR:STAT:L1 37.5
DMM2 Query | MEAS:VOLT:DC?
Load Command | CURR:STAT:L1 50
DMM2 Query | MEAS:VOLT:DC?
DMM2 Close