## Sheet1
Workbook: Test.xlsx | Script: Quick ATE.py |  |  | Commands Sent: 0
Mon,22 Jul 2019 03:05:37 PM | GEN IP Address: | Delay in (sec): 0.01 | Protocol: TCP | Time-outs: 0
Total Errors: 0
Command Type | Command List | Response | Expected Response | Pass/Fail
DMM2 Open
DMM2 Query | *IDN? | Agilent Technologies,34461A,MY53209155,A.01.10-02.25-01.10-00.35-01-01
DMM2 Query | MEAS:VOLT:DC? | +1.58401668E-05
Wait | 5
DMM2 Query | MEAS:CURR:DC? | +8.94277276E-10
PM Open
PM Query | *IDN? | YOKOGAWA,WT333E,C2UE16018V,F1.03
PM Command | NUM:NORM:ITEM1 U,1
PM Command | NUM:NORM:ITEM2 U,2
PM Command | NUM:NORM:ITEM3 U,3
PM Command | NUM:NORM:ITEM4 I,1
PM Command | NUM:NORM:ITEM5 I,2
PM Command | NUM:NORM:ITEM6 I,3
PM Command | NUM:NORM:ITEM7 P,SIGMA
PM Query | NUM:NORM:VAL? 7 | 0.000E+00
PSR Open
PSR Command | ADR 6 | OK
PSR Command | PV 10 | OK
Pause
PSR Close
PM Close
DMM2 Close